## Cover page
USAID’s Malaria Action Program for Districts (MAPD)
THE PROPOSED RENOVATION WORKS AT
WABUSANA HEALTH CENTRE III LUWERO DISTRICT
IN UGANDA
Procurement Ref: MAPD/002/2020
Bidding Documents for Works
Volume 1: Solicitation Document
Volume 2: Technical Specifications
Volume 3: Drawings
Volume 4: Bills of Quantities
Issued: March 2020
VOLUME 4: BILLS OF QUANTITIES

## Fly-Cover page
BILLS OF QUANTITIES

## Fly-MAIN Sum
MAIN SUMMARY

## MAIN Sum
USAID's MAPD - PROPOSED INFRASTRUCTURE RENOVATIONS AT SELECTED HEALTH CENTRES IN UGANDA, 2020
WABUSANA HEALTH CENTRE III IN LUWERO DISTRICT
Item | Description | Unit | Qty | Rate | Amount
|  |  |  | Ugx | Ugx
WABUSANA HEALTH CENTER III, LUWERO DISTRICT
MAIN SUMMARY
1 | PRELIMINARIES AND CONDITIONS OF CONTRACT |  |  |  | 0
2 | OPD BUILDING |  |  |  | 0
3 | MATERNITY/ANC BUILDING |  |  |  | 0
4 | EMMP ITEMS /EXTERNAL WORKS |  |  |  | 0
| SUB TOTAL 1 |  |  |  | 0
5 | ADD: CONTINGENCY SUM 5% |  |  |  | 0
| SUB TOTAL 2 |  |  |  | 0
6 | ADD: VAT 18% |  |  |  | 0
7 |  |  |  |  | 0
Amount in words
NAME AND ADDRESS OF BIDDER:
……………………………………………………
……………………………………………………
…………………………………………………….
DATE : …………………………………………

## Fly-Preliminaries
BILL NO.1
PRELIMINARIES

## Bill 1Preliminaries
USAID's MAPD - PROPOSED INFRASTRUCTURE RENOVATIONS AT SELECTED HEALTH CENTRES IN UGANDA, 2020
WABUSANA HEALTH CENTRE III IN LUWERO DISTRICT
Bill No. 1 ; PRELIMINARIES
Item | Description
BILL NO. 1 - PRELIMINARIES
Preamble:
Each item in the Preliminaries and General Requirements, which the Contractor wishes to price, shall be priced individually and the Contractor shall not enter any lump sum covering more than one item or group of items. Items against which no price is indicated is deemed to have been included in the rates.
A | Bidder to Visit the Site
The bidder will be required to visit the site before bidding.
The Contractor is to satisfy himself as to any difficulties that the Site may present and make all necessary inquiries to any point which in his opinion requires further elucidation as no claim for lack of information on any of the above will be entertained.
The Contractor shall therefore be deemed to have visited the site and satisfied himself as to: -
(i) The nature/terrain of the site.
(ii) The nature, proximity of adjoining property, buildings and services to be protected and/or diverted.
(iii) The nature of existing building elements to be demolished/ taken down/removed/hacked up if any, including cost of demolition/taking down/removing/hacking up.
(vi) The locations where all temporary structures,plant and materials necessary for executing the works will be placed.
(v) The existence and source of adequate supplies of labour, plant and local materials for the works.
(vi) The requirements for Environmental Monitoring and Mitigation Plan (EMMP).
(vii) The requirements for Quality Assurance and Quality Control Plan.
(viii) The requirements for Health and Safety Plan.
(ix) The state and pattern of weather in the area.
(x) The source of clean water,electricity or any utility services for use during the renovations of the works.
The Contractor shall visit the Site to acquaint himself with the nature and position of the Works to be executed and no claim for extras will be considered on account of lack of knowledge in this respect.
Total Carried to Collection
Item | Description
A | Measurements
Measurements used in preparing these Bills of Quantities have been taken off from site measurements and Architectural/Structural drawings.
Any un authorised alteration or qualification made to the text of these Bills of Quantities will be ignored.
The Bills of Quantities shall under no circumstances be used for the purpose of ordering materials. The Contractor shall make his own computations for purposes of ordering materials.
B | Drawings
The Works are to be executed in accordance with the drawings referred to in these tender documents together with any drawings which may be required in amplification or amendment thereof.
Therefore the Contractor shall be deemed to have examined the drawings before tendering and to have satisfied himself regarding the nature and extent of the works and the method of construction involved. No claim arising out of misinterpretation in any respects will be entertained.
C | Samples
The Contractor shall furnish at the earliest possible opportunity before work commences and at his own cost any samples of materials or workmanship that may be called for by the Project Manager for his approval or rejection until such samples are approved by the Project Manager and such samples when approved shall be the minimum standard for the work to which they apply.
The samples shall be removed when no longer required by the Project Manager.
D | Rejected Workmanship or Materials
Any workmanship or materials not complying with specific requirements or approved samples or which have been damaged, contaminated or have deteriorated, must be immediately removed from the site and replaced at the Contractor's expense when required.
E | Discrepancies in descriptions
The Bills of Quantities are to be priced according to the descriptions contained in the items and the relevant drawings and notes thereon and Specifications. In the event of discrepancies appearing between these descriptions or any drawing and specifications issued with tenders, the drawings and notes thereon shall take precedence for the purpose of pricing.
| Total Carried to Collection | 0
Item | Description | Amount
A | Pricing Preliminaries
The Contractor shall price out individually and in detail all the items carrying a monetary value in this and any other section of the Bills for Quantities as required and under no circumstances will lump sums be allowed unless otherwise stated to the contrary in the tender documents. Any item not priced either in the Preliminaries Bill or elsewhere in the Bills of Quantities, will be deemed to have been allowed for in the prices inserted against other items in the Bills of Quantities.
B | Materials for the Works
The Contractor will be entirely responsible for obtaining all materials required for the Works, whether local or imported and for, paying all costs and charges necessary, including all ordering, shipping or air freight, clearance, transport to site, intermediate storage, and storage on site, insurance, security, documentation, licenses, national and international taxes, etc.,
The Contractor must obtain the The Project Manager's approval and directions regarding the use of any materials found on site.
C | No exemption from duty and other tax payments
The prices bidded by the Contractor shall include all customs duties, import duties, business taxes, income and other taxes that may be levied according to the laws and regulations in being in Uganda as of the date 28 days prior to the closing date of submission of Bids on the Construction Plant, materials and supplies (both permanent, temporary and consumable) acquired for the purpose of the contract and on the services performed under the Contract. Nothing in the Contract shall relieve the Contractor from his responsibility to pay any tax that may be levied in Uganda on profits made by him in respect of the Contract.
D | Legally demandable taxes
The Contractor shall allow for making any legally demandable payments due in respect of works and hoardings, and of workpeople employed by him to Local or Central Government Authorities and bodies.
E | Value Added Tax (VAT)
The Contractor is to allow for Value Added Tax (VAT) at 18% of the Main Summary at the end of Bills of Quantities.
F | Preparation of Site, Works etc.
The Contractor shall allow for all necessary preparation of the Site, Works and materials prior to commencement of renovations.
| Total Carried to Collection | 0
Item | Description | Amount
A | Programme and Progress
The Contractor shall furnish to the Project Manager for approval and display in the site offices, a Programme and Progress Chart devised in such a way that the lined programme is shown and progress can be marked up as the work proceeds. The Contractor shall keep this chart up to date at all times
B | Progress Photographs
The Contractor shall display at least (5) five progress photographs of appropriate sizes of the completed works on a board fixed in the Site Meeting Room taken once every month by an automatic Camera with time recording facility throughout the duration of the Contract.
C | Interim Payment Certificates
The Contractor may request for Interim payments only after completion of stages determined by the Project Manager, in any case comprised of completed elements of the Works;
The Interim payment schedule will be as follows:
(i) upon completion of the Substructure Works (including Ground floor slab);
(ii) upon completion of the Walling and Frame;
(iii) upon completion of Roofing Works (including rain water harvesting)
(iv) upon completion of fitted Windows and Doors;
(v) upon completion of Finishes, M& E Installations, Fixtures and External Works;
(vi) Any other stages as may be determined by the Project Manager.
The Project Manager shall check the Contractor’s statement and certify the amount to be paid to the Contractor.
The value of work executed shall be determined by the Project Manager
D | Priced Bills of Quantities
All items in these Bills of Quantities must be priced. No alterations of quantities or descriptions made by the bidder will be allowed
The Bill of Quantities is used to calculate the Contract Price. The Contractor is paid for the quantity of the work done at the rate in the Bill of Quantities for each item.
E | Working and Storage Space
The Contractor will be restricted to within the boundaries of the site for all operations.
The Contractor shall obtain the approval of the responsible Local authority for the siting of all temporary buildings, access roads and paths, storage area for materials and spoil heaps.
F | Visitors to the Site
The Contractor is required to control all visitors to the site and to keep out unauthorized persons and shall provide a visitor's book where all authorised persons sign therein.
G | Site Instruction book
The contractor shall provide a triplicate site instruction book per site.
| Total Carried to Collection | 0
Item | Description | Amount
DEFINITION OF ABBREVIATIONS
The abbreviations used in this document shall be deemed to have the following meanings.
A | "AS BEFORE" shall mean in all respects as earlier described in the same or previous section.
B | "DITTO" shall mean the whole of the proceeding description in which it occurs. Where it occurs in descriptions of succeeding items it shall mean the same as in the first description of the series in which it occurs except as qualified in the description which is contained within the appropriate brackets.
C | "CM" shall mean cubic metres
D | "SM" shall mean Square metres.
E | "LM" shall mean Linear metres
F | "MM" shall mean Millimetres
G | "KG" shall mean Kilogramms
H | "NO" shall mean number
I | "PRS" shall mean Pairs
J | "ITEM" shall mean the rates quoted for materials, labour, profit and overheads are at the bidder's risks
K | "MS" shall mean measured separately
L | "EMMP" shall mean Environmental Monitoring and Mitigation Plan
| Total Carried to Collection | 0
Item | Description | Amount
GENERAL MATTERS
A | Tools and Plant
The contractor shall provide all necessary tools and equipment and other requisites necessary for the proper execution of the Works.
Allow for removing and reinstating, adapting from time to time as may be necessary and maintaining all plant and equipment during the course of the Contract.
The Contractor is to provide everything necessary for the proper execution of the works according to the true intent and meaning of Drawings, etc., whether the same may or may not be particularly shown on the drawings or described in the Bills of Quantities provided that the same is reasonably to be inferred there from.
B | Safety, Health and Welfare of Work people
The Contractor shall allow for providing for the safety, health and welfare of work people and for complying with any relevant Ordinances, Regulations or Union Agreement and the safety requirements for working on Construction sites in accordance with the Conditions of Contract.
C | Occupational Health and safety
The contractor shall ensure so far as reasonably practicable,the health,safety and welfare at work for his/her employees including those of his/her sub contractors and all other persons on site.
The contractor,among others,shall provide:-
(i) Protective clothing,equipment etc
(ii) Safe access to all places on site
(iii) Appropriate sanitation
(iv) First Aid facilities.
The contractor shall report accidents,manage contagiuos diseases and reduce occupational health hazards as required by the statutes and other regulations in place.
D | HIV/AIDS and STD Prevention
The Contractor shall provide details of the measures he/she proposes to adopt to control the spread of HIV/AIDS and sexually transmitted diseases (STDs) between his/her staff, labour and the Local Community. The Contractor shall put in place non- discreminatory workplace measures to protect the employees living with HIV/AIDS and to ensure that they are treated and counselled. Preventive measures should also be established to protect others aginst any risk of illness and injury which can result in HIV/AIDS infection and transmission.
The Contractor shall regularly (every three months) carry out awareness training to provide information, education and consultation to site staff and labour of the danger and impacts of STDs and HIV/AIDS.
| Total Carried to Collection | 0
Item | Description | Amount
A | Gender
The Contractor shall throughout the contract peroid laise with both government and NGOs at all levels dealing with gender and development isssues. He/she shall ensure that recruitment procedures and working conditions/facilities are gender balanced and non- descrimanatory.
B | Holidays and Transport for Work people
The Contractor shall allow for providing holidays and transport for work people and for complying with any relevant Ordinances, Regulations or Union Agreement
C | Protection of Works and Persons
The Contractor shall allow for protection of his own and his Sub-Contractor's work liable to damage if necessary and shall case-up, cover, or in other suitable ways protect all finished work liable to injury, to the satisfaction of the Project Manager until completion of the Contract.
D | Water for the Works
The Contractor shall allow for providing all temporary clear water supplies required for the Works together with all necessary storage tanks and distribution systems for the same and must allow for bearing all expenses incurred and paying for all water consumed.
E | Lighting and Power for the Works
The Contractor shall allow for providing all temporary lighting and power supplies required for the Works together with all necessary distributions for the same and must allow for bearing all expenses incurred and paying for all power consumed.
F | Contractor Site Offices and Store for Materials
The Contractor shall allow for erecting and maintaining a site office and store for the use by his own site staff.The office shall be sufficiently large enough with a sittting capacity of not less than 20No people to enable holding of site meetings.The contractor must also allow for provision and maintaining a lockable office complete with a desk,chair and cupboard for the sole use of a Clerk of Works.At the end of the project,the contractor shall remove all and the used property shall be handed over to the Employer.
G | Site Meetings
The Contractor shall provide the necessary logistical requirements for a minimum of 20No participants during the monthly site meetings.
| Total Carried to Collection | 0
Item | Description | Amount
A | Sanitation of the Works
The Contractor shall allow for providing the necessary latrines for the labour employed on the Works, including labour employed by Sub-Contractors, to the satisfaction of the Health and Medical Authorities and for maintaining the same in a thoroughly clean and sanitary condition and paying all conservancy fees.
The Contractor shall allow for removing the said latrines, filling pits with hardcore and murram and leaving the ground clean, free from pollution upon completion of the Works to the satisfaction of the Health and Medical Authorities.
B | Hoarding and Screening
The Contractor shall allow for providing all necessary iron sheet hoarding preferably Gauge 30, around the site with a lockable gate for entrance/exit.
The Contractor shall allow for thoroughly maintaining all such protective and other devices throughout the contract and clearing away and handing over to the Employer including making good disturbed ground on completion.
C | Scaffolding
The Contractor shall allow for providing, erecting and dismantling all general scaffolding required for the Works. The Contractor must allow here or in his rates for providing all special scaffolding required by his Sub-Contractors carrying out works.
D | Site Administration and Security
The Contractor shall provide and maintain an administrative personnel on site who shall provide and maintain appropriate security for proper protection of the Works, materials and plant at the site.
E | Removing Rubbish and Clearing
The Contractor must allow for removing and clearing away all surplus excavated materials, rubbish, unused materials and plant both during and at the completion of the Works and shall leave the whole of the site and Works in a clean and tidy state to the satisfaction of the Project Manager including clearing away and making good all traces of temporary acces roads, offices, sheds, etc., if any.
F | Signboard - 2No
The Contractor shall make and erect two signboards in accordance with the Architects detailed drawing.
G | Liability for Defects
Defects, shrinkage or other faults which are attributed by the Project Manager to work executed under this Contract shall be made good by the Contractor at his own cost.
| Total Carried to Collection | 0
Item | Description | Amount
A | Works to be delivered clean
On completion of the Contract, the site and the Works shall be cleared of all plant, scaffolding, temporary structures, rubbish and unused materials and shall be delivered up clean and in perfect condition in every respect to the satisfaction of the Project Manager. Particular attention is to be paid to leave all windows, doors, floors, walls and fittings clean and removing all paint and cement stains, including unblocking gutters, drains and channels.
B | Contract Conditions
The Contractor shall provide and maintain the following Insurance Policies and Performance Security in accordance with the Contract Conditions stated in Volume 1 Section 4 :
(i) Insurance of the Works,Plant and Materials against loss or damage.
(ii) Insurance of other property against loss or damage.
(iii) Insurance against personal Injury or death of third parties and workmen in connection with the Contract.
(iv) Performance Security.
| Total Carried to Collection | 0
COLLECTION
| Page 1 | 0
| Page 2 | 0
| Page 3 | 0
| Page 4 | 0
| Page 5 | 0
| Page 6 | 0
| Page 7 | 0
| Page 8 | 0
| Page 9 | 0
| TOTAL BILL No. 1 (PRELIMINARIES) CARRIED TO MAIN SUMMARY | 0

## Fly-OPD
BILL NO.2
OPD BUILDING

## Bill 2 OPD
USAID's MAPD - PROPOSED INFRASTRUCTURE RENOVATIONS AT SELECTED HEALTH CENTRES IN UGANDA, 2020
WABUSANA HEALTH CENTRE III IN LUWERO DISTRICT
Bill No. 2; OPD BUILDING
Item | Description | Unit | Qty | Rate | Amount
|  |  |  | Ugx | Ugx
BILL NO. 2 - OPD BUILDING
SUMMARY
1 | DEMOLITIONS AND REMOVALS |  |  |  | 0
2 | SUBSTRUCTURE |  |  |  | 0
3 | SUPERSTRUCTURE |  |  |  | 0
4 | ROOFING |  |  |  | 0
5 | DOORS |  |  |  | 0
6 | WINDOWS |  |  |  | 0
7 | INTERNAL FINISHINGS |  |  |  | 0
8 | EXTERNAL FINISHINGS |  |  |  | 0
9 | FITTINGS & FIXTURES |  |  |  | 0
10 | MECHANICAL INSTALLATION |  |  |  | 0
11 | ELECTRICAL INSTALLATION |  |  |  | 0
| TOTAL BILL No. 2 (OPD BUILDING ) CARRIED TO MAIN SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 1
DEMOLITIONS AND REMOVALS
Bidders must visit the site to acquaint themselves with the nature of the demolitions and removals, including obtaining all information necessary for pricing items related to these works.
The amounts inserted against items must include for keeping the salvaged materials and later handing over to the project manager, loading and carting away rubbish and debris to dump to be found by the contractor and leaving the whole site clean and tidy to the satisfaction of the Project Manager and Local Authority and MAKING GOOD all disturbed surfaces to approval.
Roof
A | Carefully remove and hand over to employer existing roof sheets approximately 242 square metres fixed on and including timber purlins. | ITEM | 1 |  | 0
Doors
B | Carefully remove and hand over to employer existing timber framed door size 800 x 2100 mm high complete with door frame ( 8No.) | ITEM | 1 |  | 0
| TOTAL ELEMENT No. 1 (DEMOLITIONS) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 2
SUBSTRUCTURE
Site preparation
A | Excavate over site and remove from site | SM | 190 |  | 0
B | Excavate to reduce levels and remove from site | CM | 57 |  | 0
C | Anti-termite treatment on foundation. | SM | 118 |  | 0
D | Ditto: on column bases | SM | 60 |  | 0
E | Ditto: blinded surfaces of hardcore | SM | 44 |  | 0
Excavations and Earthworks
F | Excavate foundation trench | CM | 17 |  | 0
G | Excavate column bases | CM | 15 |  | 0
H | Excavate trench for spalsh apron footing | CM | 5 |  | 0
Disposal of excavated materials
I | Back fill excavated materials around foundations | CM | 20 |  | 0
J | Remove surplus excavated materials from site | CM | 17 |  | 0
Fillings
K | 125 Murram filling | SM | 53 |  | 0
L | 200mm Hardcore bed with and including 50mm sand blinding | SM | 44 |  | 0
M | Ditto under splash apron | SM | 8 |  | 0
Plain concrete class 10/20mm (1:4:8)
N | 50mm blinding under column bases | SM | 13 |  | 0
O | Ditto under ground beams | SM | 8 |  | 0
Plain concrete class 15/20mm (1:3:6)
P | Foundation strip | CM | 3 |  | 0
Q | Splash apron footing | CM | 1 |  | 0
R | 75mm thick Splash apron bed | SM | 30 |  | 0
S | 100mm thick Floor bed | SM | 53 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
Reinforced concrete class 20/20mm (1:2:4)
A | Column bases | CM | 2 |  | 0
B | Stub columns | CM | 1 |  | 0
C | Ground beams | CM | 1 |  | 0
Walkway
D | 600x60050mm thick precast concrete paving slabs laid and jointed in cement and sand(1:3) motor on and including 50mm thick sandbed with pointed joints to approval | SM | 20 |  | 0
Formwork to:
E | Sides of column bases | SM | 9 |  | 0
F | Sides of stub columns | SM | 6 |  | 0
G | Sides of ground beams | SM | 30 |  | 0
H | Edge of slab 75 - 150mm high. | LM | 34 |  | 0
I | Edge of splash apron slab 75 - 150mm high. | LM | 18 |  | 0
Foundation walls
Locally burnt clay brickwork in cement and sand (1:3)mortar
J | 200mm wall | SM | 28 |  | 0
K | 200mm raised plinth wall | SM | 23 |  | 0
L | 150mm Ditto (Splash apron) | SM | 11 |  | 0
Damp proof membrane
M | 1000 Gauge polythene sheet damp proof membrane | SM | 53 |  | 0
Mesh fabric reinforcement reference A 142
N | BRC Mesh Ref A142 laid in concrete floor and splash apron beds | SM | 82 |  | 0
High tensile steel bar reinforcement
O | 8 mm in columns | KGS | 25 |  | 0
P | 8 mm in ground beams | KGS | 100 |  | 0
Q | 12mm in columns | KGS | 175 |  | 0
R | 16 mm in ground beams | KGS | 200 |  | 0
S | 10mm dia x300mm long mild steel dowel set in concrete splash apron at 300mm centers | NO | 64 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
Horizontal Damp proof course
A | 200mm wide | LM | 38 |  | 0
Plinth finishes
B | Cement and sand (1:3) render | SM | 61 |  | 0
C | Apply 3 coats bituminous paint | SM | 61 |  | 0
Maintenance for excavation
D | Allow for upholding and maintaining sides of excavations | ITEM | 1 |  | 0
E | Allow for keeping excavations free from surface water | ITEM | 1 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
| Total Page No. 3 |  |  |  | 0
| Total Page No. 4 |  |  |  | 0
| Total Page No. 5 |  |  |  | 0
| TOTAL ELEMENT No. 2 (SUBSTRUCTURE) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 3
SUPERSTRUCTURE
Reinforced concrete class 20/20mm (1:2:4)
A | Columns | CM | 1 |  | 0
B | Ring Beams | CM | 2 |  | 0
Formwork to:
C | Columns | SM | 12 |  | 0
D | Horizontal beams | SM | 21 |  | 0
High tensile steel bar reinforcement
E | 8 mm in columns | KGS | 40 |  | 0
F | 8 mm in beams | KGS | 50 |  | 0
G | 12mm in columns | KGS | 60 |  | 0
H | 16mm in beams | KGS | 200 |  | 0
Locally burnt clay brickwork in cement and sand (1:3)mortar
I | 200mm external wall | SM | 73 |  | 0
J | 200mm internal wall | SM | 35 |  | 0
K | Extra for beam filling 300mm high | LM | 34 |  | 0
0
L | Ditto eaves filling 200mm high including raking cutting to slope | LM | 12 |  | 0
M | Ditto building dwarf wall around 100mm diameter steel pipes | LM | 4 |  | 0
Steel posts
N | 100mm diameter x 4mm thick CHS pipe 2500mm high with steel plates welded both ends cast in concrete | NO | 4 |  | 0
| TOTAL ELEMENT No. 3 (SUPERSTRUCTURE) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 4
ROOFING
Pre-coated Steel Roofing Sheets
A | 28 Gauge Pre-coated steel roofing sheets fixed with drive screws on timber purlins | SM | 270 |  | 0
B | Extra for Ridge capping | LM | 32 |  | 0
Plain perspex transluscent Roofing Sheets
C | 26 Gauge Perspex transluscent plain roofing sheets fixed with drive screws on timber purlins on existing roof | SM | 18 |  | 0
Roof Construction
Hard wood treated roof trusses complete with hoop iron strip connections and bolts
D | 150mm x 50mm Tie beams | LM | 33 |  | 0
E | 100mm x 50mm Struts and Ties | LM | 34 |  | 0
F | 150mm x 50mm rafters | LM | 56 |  | 0
Sawn hardwood:
G | 100mm x 75mm Wall plate | LM | 26 |  | 0
H | 100mm x 50mm Purlins | LM | 113 |  | 0
I | Ditto in replacing existing roof purlins | LM | 230 |  | 0
J | Ditto in repairing existing roof trusses | LM | 115 |  | 0
Wrought "Cypress"timber:
K | 25mm x 225mm Fascia and barge boards | LM | 114 |  | 0
Painting
L | Apply three coats of gloss enamel paint on fascia boards | LM | 114 |  | 0
| TOTAL ELEMENT No. 4 (ROOFING) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 5
DOORS
Wrot hard wood frames, selected, treated and kept clean: to Architects detail.
A | 150 x 50mm rebated door frame, plugged | LM | 16 |  | 0
Supply and fix 45 mm thick flush door shutters of solid core block, construction with stile frame, rails out of well seasoned and kiln dried timber, bonded with phenol formaldehyde synthetic resin, 4mm thick plywood facing, finished in approved 1mm thick laminate including 12mm thick teak wood lipping / beading all around the edges of shutter, necessary SS screws. (Frames & ironmongery shall be measured and paid separately)
B | Single leaved Door shutter D2 size 825mm x 2050mm high - side hung, single swing | No | 3 |  | 0
Purpose made half glazed steel casement doors fabricated from 3mm thick standard sections and bottom plate: frames and plate primed with one coat red oxide primer before fixing; complete with internal padbolt locking system; fixing lugs built into walls; glazing measured separately. Refer to door schedules provided
C | Side hung single leaf door D1 overall size 900mm x 2100mm high | NO | 2 |  | 0
Supply and fix the following ironmongery of "UNION" Manufacture or other equal and approved, complete with matching fixings to hardwood.
D | Butt Hinges, 75 x 100mm: Heavy duty finished stainless steel . | PRS | 4.5 |  | 0
E | 3 Lever Mortice door lock complete with lever furniture | NO | 3 |  | 0
F | Door closure ( Analysis/Phlebotomy) | NO | 1 |  | 0
G | Double action (swing) hinges: Heavy duty finished stainless steel . | PRS | 2 |  | 0
H | 825x250mm high Aluminium kick plates fixed to flush doors | NO | 6 |  | 0
I | 150x300mm high Aluminium push plates fixed to flush doors | NO | 3 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
A | Rubber door stopper plugged on wall or floor | NO | 5 |  | 0
Glass and Glazing
B | 6mm thick clear sheet glass to metal doors with putty | SM | 3 |  | 0
Prepare and apply three coats of super quality gloss enamel paint on metalwork:
C | General Surfaces of new steel glazed doors and frames | SM | 8 |  | 0
Prepare Knot, Prime, stop and apply three coats of gloss oil paint: on woodwork
D | General Surfaces of new wood doors | SM | 11 |  | 0
E | ditto: frames over 200mm but not exceeding 300mm girth | LM | 16 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
| Total Page No. 8 |  |  |  | 0
| Total Page No. 9 |  |  |  | 0
| TOTAL ELEMENT No. 5 (DOORS) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 6
WINDOWS
Precast concrete units: class 25 (1:2:4)
A | 325 x 75mm Cill | LM | 13 |  | 0
Purpose made steel casement windows fabricated from 3mm thick standard sections: frames and glazing primed with one coat red oxide primer before fixing; complete with stays, fasteners and fixing lugs built into walls. Refer to window schedules provided
B | Side hung window W2 overall size 1200mm x 1200mm high | NO | 5 |  | 0
C | Ditto W3 size 1200mm x 900mm high | NO | 1 |  | 0
D | Ditto W4 size 900mm x 1200mm high | NO | 3 |  | 0
E | Fixed window W5 size 750mm x 800mm high | NO | 1 |  | 0
Glass and Glazing
F | 6mm thick clear glass to metal windows with glass putty | SM | 12 |  | 0
G | 6mm thick laminated safety glass to metal window with glass putty (Phlebotomy) | SM | 1 |  | 0
H | Extra for cutting 150mm radius semi- circular hole in glass | NO | 1 |  | 0
Ironmongery and matching fixings
I | Approved Casement steel fasteners fixed on existing windows | PRS | 10 |  | 0
J | Ditto Casement steel stays | PRS | 10 |  | 0
Rub down, prepare and apply two coats of super quality gloss enamel paint on:
K | Existing glazed steel windows (measured over glass) | SM | 30 |  | 0
Prepare and apply three coats of super quality gloss enamel paint on metalwork:
L | General Surfaces of new steel glazed windows | SM | 23 |  | 0
M | New burglar proof steel grilles to windows (bothsides measured) | SM | 2 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
Vents
Wrot hard wood frames, selected, treated and kept clean.
A | 25 x 25mm architraves | LM | 24 |  | 0
32 SWG Mosquito wire gauge
B | Mosquito wire gauge fixed to vents with timber beads (m.s.) | SM | 4 |  | 0
Prepare Knot, Prime, stop and apply three coats of gloss oil paint: on woodwork
C | New wood frames not exceeding 100mm girth | LM | 24 |  | 0
Finishes to Window Reveals
Cement and sand (1:3)
D | 15mm plaster to window reveals | LM | 36 |  | 0
Painting
E | Prepare and apply three coats weather guard paint on plastered surfaces of reveals not exceeding 100mm girth internally | LM | 18 |  | 0
F | Prepare and apply three coats vinyl silk paint on plastered surfaces of reveals not exceeding 100mm girth externally | LM | 18 |  | 0
G | Rub down, prepare and apply two coats exterior quality emulsion paint on existing reveals not exceeding 100mm girth | LM | 56 |  | 0
H | Ditto but vinyl silk paint internally ditto | LM | 56 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
| Total Page No. 10 |  |  |  | 0
| Total Page No. 11 |  |  |  | 0
| TOTAL ELEMENT No. 6 (WINDOWS) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 7
INTERNAL FINISHES
Floor Finishes
Cement and sand (1:4) screeds and pavings: one coat: steel trowell finish: laid on concrete
A | 25mm thick paving to existing floor. | SM | 25 |  | 0
Cement and sand (1:4) beds to receive terrazzo finish (measured separately) laid on concrete
B | 25mm thick bed to floor. | SM | 44 |  | 0
Insitu polished terrazzo by Specialist
C | 30mm thick terrazzo paving complete with plastic division strip | SM | 44 |  | 0
D | 25x150mm high terrazzo skirting curved at bottom and both ends finished flush with floor and wall finishes | LM | 28 |  | 0
Wall Finishes
Cement / lime/putty/sand(1:2:9):
E | 15mm plaster to walls and concrete surfaces | SM | 253 |  | 0
White glazed ceramic wall tiles with and including cement and sand (1:4) backing
F | 150x150x6mm thick white glazed ceramic wall tiles fixed with aproved adhesive | SM | 3 |  | 0
G | Extra for rounded tile top | LM | 5 |  | 0
H | Ditto but corner strip | LM | 1 |  | 0
Painting
I | Thorughly rub down, prepare and apply two coats of silkvinyl paint to existing painted surfaces internally | SM | 145 |  | 0
J | Prepare and apply three coats of silkvinyl paint on plastered surfaces internally | SM | 248 |  | 0
Ceiling Finishes
Sawn softwood pressure impregnated.
K | 50 x 100mm branderings and joists | LM | 176 |  | 0
L | 50 x 100mm runners and hangers | LM | 5 |  | 0
9mm thick plain chipboard ceiling;
M | 9mm thick chipboard ceiling fixed on timber frame work | SM | 44 |  | 0
N | 75x25mm thick hardwood ceiling cornice | LM | 84 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
A | Extra for 600x600mm chipboard trap door complste with hardwood framing | NO | 1 |  | 0
12mm Lime plaster on;
B | Beams | SM | 21 |  | 0
C | Rub down, prepare and apply two coats of first grade emulsion on existing ceiling internally | SM | 78 |  | 0
Painting
D | Prepare and apply three coats of first grade emulsion on chipboard ceilings internally | SM | 44 |  | 0
E | Ditto beams internally | SM | 21 |  | 0
F | Prepare and apply three coats of clear varnish on hardwood cornice 75 - 150mm girth internally | LM | 84 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
| Total Page No. 12 |  |  |  | 0
| Total Page No. 13 |  |  |  | 0
| TOTAL ELEMENT No. 7 (INTERNAL FINISHES) CARRIED TO SUMMARY. |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 8
EXTERNAL FINISHES
Floor Finishes
Cement and sand (1:4) screeds and pavings: one coat: steel trowell finish: laid on concrete
A | 25mm thick paving to splash apron | SM | 30 | 0 | 0
Wall Finishes
Cement and sand (1:3)
B | 20mm plastering to walls externally | SM | 76 |  | 0
C | Ditto but concrete surfaces | SM | 5 |  | 0
D | Extra for coping with rounded top and sloping sides over dwarf wall to detail | LM | 22 |  | 0
Painting
E | Thorughly rub down, prepare and apply two coats of weather guard paint to existing painted surfaces externally | SM | 147 |  | 0
F | Prepare and apply three coats of weather guard emulsion paint to rendered surfaces | SM | 70 |  | 0
Prepare and apply three coats of super quality gloss enamel paint on:
G | New steel pipe supports; over 200 but not exceeding 300mm girth | LM | 12 |  | 0
Rub down, prepare and apply two coats of super quality gloss enamel paint on:
H | Existing steel pipe supports; over 200 but not exceeding 300mm girth | LM | 9 |  | 0
| TOTAL ELEMENT No. 8 (EXTERNAL FINISHES) CARRIED TO SUMMARY. |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 9
FITTINGS & FIXTURES
CONCRETE SEATS AND SHELVES
Reinforced concrete class 20/20mm (1:2:4)
A | 100mm thick reinforced concrete seats | SM | 4 |  | 0
B | 75mm thick reinforced concrete wall shelves | SM | 3 |  | 0
Mesh fabric reinforcement reference A 142
C | BRC mesh reinforcement ref. A142 laid in suspended slabs | SM | 7 |  | 0
Formwork to:
D | Soffites of suspended slabs | SM | 7 |  | 0
E | Ditto edges of slab not exceeding 100mm girth | LM | 18 |  | 0
Locally burnt clay brickwork in cement and sand (1:3)mortar
F | 200mm thick support walls in cement and sand(1:3) mortar | SM | 6 |  | 0
Cement and sand (1:4) screeds and pavings: one coat: steel trowell finish: laid on concrete
G | 25mm thick screed to horizontal and vertical sides of seats | SM | 0 |  | 0
Insitu polished terrazzo by Specialist
H | 30mm thick terrazzo finish on concrete seats | SM | 4 |  | 0
I | Ditto wall shelves | SM | 6 |  | 0
J | Ditto edges of slab not exceeding 100mm girth | LM | 18 |  | 0
Cement / lime/putty/sand(1:2:9):
K | 15mm plaster to walls and concrete surfaces | SM | 12 |  | 0
L | Prepare and apply three coats of silkvinyl paint on plastered surfaces internally | SM | 12 |  | 0
BACKREST
M | 20x140mm deep hardwood dado rail screwed to wall | LM | 22 |  | 0
N | Prepare and apply three coats of clear varnish on wood surfaces 200 to 300mm girth | LM | 22 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
CONCRETE WORKOPS
Plain concrete class 15/20mm (1:3:6)
A | 100mm thick concrete benching | SM | 8 |  | 0
Reinforced concrete class 20/20mm (1:2:4)
B | 100mm thick reinforced concrete worktop | SM | 8 | 0 | 0
Mesh fabric reinforcement reference A 142
C | BRC mesh reinforcement ref. A142 laid in worktop | SM | 8 |  | 0
Locally burnt clay brickwork in cement and sand (1:3)mortar
D | 100mm thick support walls in cement and sand(1:3) mortar | SM | 3 |  | 0
Sawn formwork as described to:
E | Concrete soffites | SM | 8 |  | 0
F | Edges of suspended slab 75mm thick | LM | 8 | 0 | 0
15mm thick Granite tile slab: bedded on and including cement and sand (1:4) backing: grouted, jointed and pointed in white cement.
G | 15mm thick Tiling to worktops | SM | 8 |  | 0
H | 15mm thick x100mm high to edges of worktop slab | LM | 12 |  | 0
I | Ditto but tile skirting 100mm high to worktop slab | LM | 12 |  | 0
J | Extra for cutting hole size 280x380mm in granite slab for sink to approval | NO | 4 |  | 0
Cement / lime/putty/sand(1:2:9):
K | 15mm plaster to walls and concrete surfaces | SM | 6 | 0 | 0
L | Prepare and apply three coats of silkvinyl paint on plastered surfaces internally | SM | 12 | 0 | 0
Mahogany cabinets below worktops
M | 40 x 60mm hardwood frame | LM | 12 |  | 0
N | 40 x 50mm hardwood bearer to receive shelves (measured separately) | LM | 4 |  | 0
O | 25mm thick blockboard shelves | SM | 2 |  | 0
P | Ditto base | SM | 2 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
A | 20mm thick hardwood framed horizontal battened door size 525x650mm high | NO | 6 |  | 0
B | Approved pull handles | NO | 6 |  | 0
C | 50mm Approved brass butt hinges | PRS | 6 |  | 0
D | Approved cupboard lock | NO | 3 |  | 0
E | Prepare surfaces and apply three coats of gloss oil paint on general surfaces of wood | SM | 11 |  | 0
F | ditto: over 100 but not exceeding 200mm girth | LM | 12 |  | 0
PIN BOARDS
The following in 2 no. pin board: size 1200x 1000mm high
G | 13mm celotex softboard lining: plugged and screwed to walls | SM | 2 |  | 0
H | 50x25mm wrot hard wood; edge trim : one labour: plugged and screwed | LM | 9 |  | 0
I | Approved hessian cloth lining | SM | 2 |  | 0
Knot prime stop and apply one coat undercoat and two finishing coats gloss oil paint on wood
J | Surfaces 75-150mm girth: edge trim | LM | 9 |  | 0
SIGNAGE
K | Provide the provisional sum of Uganda shillings one million five hundred thousand (UShs. 1,500,000) only for Wall and Door Signage | ITEM | 1 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
| Total Page No. 15 |  |  |  | 0
| Total Page No. 16 |  |  |  | 0
| Total Page No. 17 |  |  |  | 0
| TOTAL ELEMENT No. 9 (FITTINGS & FIXTURES) CARRIED TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 10
MECHANICAL INSTALLATIONS
Provide all materials, install, connect and set to work the following all as described in the Specifications.
Sanitary Fittings
A | Approved laboratory polypropylene co-polymar resin sink, with one tap hole, 38mm chrome plated chain waste, plastic bottle trap, wall mounted on metal brackets complete with all accessories. | NO | 3 |  | 0
Internal Plumbing
All pipe work shall be PPR PN 16; all diameters below are internal and shall be complete with fittings such as bends elbows, tees and all accessories and shall be inclusive of all builder's work.
B | 12mm PPR cold water Pipe work complete. | LM | 18 |  | 0
C | Supply and fix approved manually filled 500 liters plastic water tank mounted on steel stand (mesured separately) | NO | 1 |  | 0
D | 12mm chrome plated ELBOW tap fixed to PPR pipe complete with accessories | NO | 3 |  | 0
Sundry Items
E | 25x25x3mm thick SHS supports welded together as stand for 500 litres water tank | LM | 10 |  | 0
F | Apply three coats of gloss enamel paint on steel surfaces 100 - 200mm girth | LM | 10 |  | 0
G | 12mm flexible tubes including connection to fittings and water supply pipes | NO | 4 |  | 0
Foul Water
Supply and fix the following in PVC soil and waste system to BS 4514 with fittings, fixed according to the manufacturer's printed instructions and BS 5572:1978 all as supplied by KEY-TERRAIN or equal, complete with all fittings and accessories and shall be inclusive of all builder's work..
H | 50mm PVC soil waste pipe on wall, in wall and or in duct. | LM | 12 |  | 0
I | 38mm PVC soil waste pipe on wall, in wall and or in duct. | LM | 12 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
J | Floor trap PVC aproximantlly 150 x 150mm, with stainless cover and all accessories | NO | 2 |  | 0
G | Gulley Traps complete with masonry wall and concrete cover. | NO | 2 |  | 0
L | Construct standard soak pit size 1.50 meter diameter x 2.00 meter deep complete | NO | 1 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
| Total Page No. 18 |  |  |  | 0
| Total Page No. 19 |  |  |  | 0
| TOTAL ELEMENT No. 10 (MECHANICAL INSTALLATIONS) CARRIED TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 11
ELECTRICAL INSTALLATIONS
Supply and install the following complete with accessories:
UMEME Power Supply
A | Provide the provisional sum of Uganda shillings fifteen million (UShs. 15,000,000) only for existing UMEME power diversion and connection | ITEM | 1 |  | 0
Power Supply
B | 100A 4-Way SPN MCB Consumer Unit for flush mounting complete with integral isolator, MCBs and all accessories as MEM, CRABTREE or equal approved. | NO | 1 |  | 0
C | Supply Cable 6mm2 x 3core SWA/PVC Copper cables buried in ground, clipped to wall complete with terminations clipping and all accessories from existing power supply to Consumer Unit above. | LM | 10 |  | 0
Lighting
D | Lighting points wired by 3 x 1.5mm2 SC PVC-I copper cables in 20mm pvc conduits in walls or in roof void, from the power supply point to a junction box (JB) with connector and ceiling rose. Fittings to be suspended on ceiling | NO | 12 |  | 0
E | 5W LED bulb complete with a flexible cable and lamp holder as Phillips | NO | 12 |  | 0
F | Replace existing damaged bulb with new 5W LED bulb complete with a flexible cable and lamp holder as Phillips | NO | 4 |  | 0
G | 6A 1 gang 1 way switch | NO | 2 |  | 0
H | 6A 1 gang 2 way switch | NO | 1 |  | 0
Socket Outlets
I | Power points wired by 3 x 2.5mm2 SC PVC-I copper cables in 20mm pvc conduits in walls or in roof void, from the power supply point to the power points | NO | 4 |  | 0
J | 13A 2gang socket outlet | NO | 2 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
Lightening Protection System
A | Copper tape size 3mm x 25mm | LM | 20 |  | 0
B | Air terminals complete | NO | 1 |  | 0
C | Test clamps complete | NO | 2 |  | 0
Earthing
D | Earth electrodes made from Hard drawn copper or copper weld 20mm diameter by 1200mm in two length screwed together complete with cap, earth clamp, manhole and all accessories. | NO | 1 |  | 0
Testing and Commissioning
E | Allow for testing and commissioning the whole of Electrical Installations to the satisfaction of the Project Manager | ITEM | 1 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
| Total Page No. 20 |  |  |  | 0
| Total Page No. 21 |  |  |  | 0
| TOTAL ELEMENT No. 11 (ELECTRICAL INSTALLATIONS) CARRIED TO SUMMARY |  |  |  | 0

## Fly-Maternity
BILL NO.3
MATERNITY/ANC BUILDING

## Bill 3 Maternity
USAID's MAPD - PROPOSED INFRASTRUCTURE RENOVATIONS AT SELECTED HEALTH CENTRES IN UGANDA, 2020
WABUSANA HEALTH CENTRE III IN LUWERO DISTRICT
Bill No. 3; MATERNITY/ANC BUILDING
Item | Description | Unit | Qty | Rate | Amount
|  |  |  | Ugx | Ugx
BILL NO. 3 - MATERNITY/ANC BUILDING
SUMMARY
1 | DEMOLITIONS AND REMOVALS |  |  |  | 0
2 | SUBSTRUCTURE |  |  |  | 0
3 | SUPERSTRUCTURE |  |  |  | 0
4 | ROOFING |  |  |  | 0
5 | DOORS |  |  |  | 0
6 | WINDOWS |  |  |  | 0
7 | INTERNAL FINISHINGS |  |  |  | 0
8 | EXTERNAL FINISHINGS |  |  |  | 0
9 | FITTINGS & FIXTURES |  |  |  | 0
10 | ELECTRICAL INSTALLATION |  |  |  | 0
| TOTAL BILL No. 3 (MATERNITY/ANC BUILDING) CARRIED TO MAIN SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 1
DEMOLITIONS AND REMOVALS
Bidders must visit the site to acquaint themselves with the nature of the demolitions and removals, including obtaining all information necessary for pricing items related to these works.
The amounts inserted against items must include for keeping the salvaged materials and later handing over to the project manager, loading and carting away rubbish and debris to dump to be found by the contractor and leaving the whole site clean and tidy to the satisfaction of the Project Manager and Local Authority and MAKING GOOD all disturbed surfaces to approval.
Roof
A | Carefully remove and hand over to employer existing roof sheets approximately 248 square metres fixed on and including timber purlins. | ITEM | 1 |  | 0
B | Carefully remove and hand over to employer existing damaged fascia board approximately 78metres long. | ITEM | 1 |  | 0
Doors
C | Carefully remove and hand over to employer existing timber framed door size 800 x 2100 mm high complete with door frame ( 2No.) | ITEM | 1 |  | 0
Windows
D | Carefully remove and hand over to employer existing timber window size 600 x 1500 mm high complete with frame ( 2No.) | ITEM | 1 |  | 0
E | Carefully remove and hand over to employer existing timber window size 950 x 1200 mm high complete with frame ( 7No.) | ITEM | 1 |  | 0
F | Carefully remove and hand over to employer existing timber window size 1450 x 1200 mm high complete with frame ( 8No.) | ITEM | 1 |  | 0
G | Carefully remove from site existing damaged mosquito wire gauze to vents size 800x350mm high (12No.) | ITEM | 1 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
Floor
A | Hack off and remove existing damaged Cement/Sand screed 25mm thick including skirting; prepare surfaces to receive new screed remove arising debris from site, approximately 75 square meters | ITEM | 1 |  | 0
B | Excavate existing floor and hardcore for SHS column bases remove arising debris from site, approximately 1 cubic meters | ITEM | 1 |  | 0
Walls
C | Carefully demolish existing wall: remove arising debris from site approximately 20 sq meters | ITEM | 1 |  | 0
Ceiling
D | Carefully take down existing damaged softboard ceiling fixed on timber framework remove arising debris from site approximately 150 square meters | ITEM | 1 |  | 0
Cut trees
E | Cut big tree over 900mm but not exceeding 1200mm girth including grubbing up roots and remove from site (1No). | ITEM | 1 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
| Total Page No. 2 |  |  |  | 0
| Total Page No. 3 |  |  |  | 0
| TOTAL ELEMENT No. 1 (DEMOLITIONS) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 2
SUBSTRUCTURE
Site preparation
A | Excavate over site and remove from site | SM | 160 |  | 0
B | Excavate to reduce levels and remove from site | CM | 50 |  | 0
C | Anti-termite treatment on foundation. | SM | 87 |  | 0
D | Ditto: on column bases | SM | 140 |  | 0
E | Ditto: blinded surfaces of hardcore | SM | 39 |  | 0
Excavations and Earthworks
F | Excavate foundation trench | CM | 2 |  | 0
G | Excavate column bases | CM | 20 |  | 0
H | Excavate trench for spalsh apron footing | CM | 7 |  | 0
Disposal of excavated materials
I | Back fill excavated materials around foundations | CM | 20 |  | 0
J | Remove surplus excavated materials from site | CM | 9 |  | 0
Fillings
K | 125 Murram filling | SM | 39 |  | 0
L | 200mm Hardcore bed with and including 50mm sand blinding | SM | 39 |  | 0
M | Ditto under splash apron | SM | 8 |  | 0
Plain concrete class 10/20mm (1:4:8)
N | 50mm blinding under column bases | SM | 12 |  | 0
O | Ditto under ground beams | SM | 8 |  | 0
Plain concrete class 20/20mm (1:3:6)
P | Foundation strip | CM | 1 |  | 0
Q | Splash apron footing | CM | 1 |  | 0
R | 75mm thick Splash apron bed | SM | 10 |  | 0
S | 100mm thick Floor bed | SM | 40 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
Reinforced concrete class 25 (1:2:4)
A | Column bases | CM | 2 |  | 0
B | Stub columns | CM | 1 |  | 0
C | Ground beams | CM | 1 |  | 0
Formwork
D | Sides of column bases | SM | 15 |  | 0
E | Sides of stub columns | SM | 10 |  | 0
F | Sides of ground beams | SM | 10 |  | 0
G | Edge of slab 75 - 150mm high. | LM | 28 |  | 0
H | Edge of splash apron slab 75 - 150mm high. | LM | 17 |  | 0
Foundation walls
Locally burnt clay brickwork in cement and sand (1:3)mortar
I | 200mm wall | SM | 22 |  | 0
J | 200mm raised plinth wall | SM | 17 |  | 0
K | 150mm Ditto (Splash apron) | SM | 10 |  | 0
Damp proof membrane
L | 1000 Gauge polythene sheet damp proof membrane | SM | 40 |  | 0
Mesh fabric reinforcement reference A 142
M | BRC Mesh Ref A142 laid in concrete floor and splash apron beds | SM | 50 |  | 0
High tensile steel bar reinforcement
N | 8mm in columns | KGS | 35 |  | 0
O | 8 mm in ground beams | KGS | 110 |  | 0
P | 10mm in column bases | KGS | 26 |  | 0
Q | 12mm in columns | KGS | 200 |  | 0
R | 16 mm in ground beams | KGS | 250 |  | 0
S | 10mm dia x300mm long mild steel dowel set in concrete splash apron at 300mm centers | NO | 190 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
Anchor steel plates
A | 250x250x4mm thick anchor steel plates welded to bottom ends of SHS columns | NO | 2 |  | 0
Plinth finishes
B | Cement and sand (1:3) render | SM | 27 |  | 0
C | Apply 3 coats bituminous paint | SM | 27 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
| Total Page No. 4 |  |  |  | 0
| Total Page No. 5 |  |  |  | 0
| Total Page No. 6 |  |  |  | 0
| TOTAL ELEMENT No. 2 (SUBSTRUCTURE) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 3
SUPERSTRUCTURE
Reinforced concrete class 25 (1:2:4)
A | Columns | CM | 1 |  | 0
B | Beams | CM | 2 |  | 0
Formwork to:
C | Columns | SM | 12 |  | 0
D | Horizontal beams | SM | 30 |  | 0
High tensile steel bar reinforcement
E | 8 mm in columns | KGS | 40 |  | 0
F | 8 mm in beams | KGS | 130 |  | 0
G | 12mm in columns | KGS | 60 |  | 0
H | 16mm in beams | KGS | 276 |  | 0
Locally burnt clay brickwork in cement and sand (1:3)mortar
I | 200mm external wall | SM | 80 |  | 0
J | 200mm internal wall | SM | 14 |  | 0
K | Extra for beam filling 300mm high | LM | 20 |  | 0
L | Ditto eaves filling 200mm high including raking cutting to slope | LM | 8 |  | 0
M | Ditto building dwarf wall around 100mm diameter steel pipes | LM | 2 |  | 0
Steel Posts and Beams
N | 100mm diameter x 4mm thick CHS pipe 2500mm high with steel plates welded both ends cast in concrete | NO | 6 |  | 0
O | Ditto but 2700mm high with steel plates welded both ends; bottom end cast in concrete and top end bolted to existing timber beam | NO | 2 |  | 0
P | 100 x 100 x 4mm thick SHS columns 4000mm high with both ends to steel plates (measured separately) | NO | 2 |  | 0
Q | IPE 180 Steel beam 4350mm long welded to SHS columns | NO | 1 |  | 0
R | 200x200x6mm thick steel plates welded to IPE beam and four times drilled for bolting to SHS columns | NO | 2 |  | 0
S | M10 bolts | NO | 8 |  | 0
| TOTAL ELEMENT No. 3 (SUPERSTRUCTURE) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 4
ROOFING
Pre-coated Steel Roofing Sheets
A | 28 Gauge Pre-coated steel roofing sheets fixed with drive screws on timber purlins | SM | 287 |  | 0
B | Extra for Ridge capping | LM | 29 |  | 0
Plain perspex transluscent Roofing Sheets
C | 26 Gauge Perspex transluscent plain roofing sheets fixed with drive screws on timber purlins on existing roof | SM | 30 |  | 0
Roof Construction
Hard wood treated roof trusses complete with hoop iron strip connections and bolts
D | 150mm x 50mm Tie beams | LM | 20 |  | 0
E | 100mm x 50mm Struts and Ties | LM | 22 |  | 0
F | 150mm x 50mm rafters | LM | 33 |  | 0
Sawn hardwood:
G | 100mm x 75mm Wall plate | LM | 20 |  | 0
H | 100mm x 50mm Purlins | LM | 90 |  | 0
I | Ditto in replacing existing roof purlins | LM | 144 |  | 0
J | Ditto in repairing existing roof trusses | LM | 200 |  | 0
Wrought "Cypress"timber:
K | 25mm x 225mm Fascia and barge boards | LM | 115 |  | 0
Painting
L | Apply three coats of gloss enamel paint on fascia boards | LM | 115 |  | 0
| TOTAL ELEMENT No. 4 (ROOFING) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 5
DOORS
Wrot hard wood frames, selected, treated and kept clean: to Architects detail.
A | 150 x 50mm rebated door frame, plugged | LM | 13 |  | 0
Supply and fix 45 mm thick flush door shutters of solid core block, construction with stile frame, rails out of well seasoned and kiln dried timber, bonded with phenol formaldehyde synthetic resin, 4mm thick plywood facing, finished in approved 1mm thick laminate including 12mm thick teak wood lipping / beading all around the edges of shutter, necessary SS screws. (Frames & ironmongery shall be measured and paid separately)
B | Single leaved Door shutter D2 size 825mm x 2050mm high - side hung, single swing | No | 1 |  | 0
C | Single leaved Door shutter D3 size 725mm x 2050mm high - double swing | No | 2 |  | 0
Purpose made half glazed steel casement doors fabricated from 3mm thick standard sections and bottom plate: frames and plate primed with one coat red oxide primer before fixing; complete with internal padbolt locking system; fixing lugs built into walls; glazing measured separately. Refer to door schedules provided
D | Side hung single leaf door D1 overall size 900mm x 2100mm high | NO | 2 |  | 0
Ironmongery
Supply and fix the following ironmongery of "UNION" Manufacture or other equal and approved, complete with matching fixings to hardwood.
E | Butt Hinges, 75 x 100mm: Heavy duty finished stainless steel. | PRS | 1.5 |  | 0
F | Door closure (Delivery) | NO | 1 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
A | Double action (swing) hinges: Heavy duty finished stainless steel . | PRS | 2 |  | 0
B | 825x250mm high Aluminium kick plates fixed to flush doors | NO | 6 |  | 0
C | 150x300mm high Aluminium push plates fixed to flush doors | NO | 2 |  | 0
D | Rubber door stopper plugged on wall or floor | NO | 5 |  | 0
Glass and Glazing
E | 6mm thick clear sheet glass to metal doors with putty | SM | 3 |  | 0
Prepare and apply three coats of super quality gloss enamel paint on metalwork:
F | General Surfaces of new steel glazed doors and frames | SM | 8 |  | 0
Prepare Knot, Prime, stop and apply three coats of gloss oil paint: on woodwork
G | General Surfaces of new wood doors | SM | 8 |  | 0
H | ditto: frames over 200mm but not exceeding 300mm girth | LM | 13 |  | 0
Rub down, prepare and apply two coats of gloss enamel paint on:
I | Existing timber doors | SM | 38 |  | 0
J | ditto: frames over 200mm but not exceeding 300mm girth | LM | 51 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
| Total Page No. 8 |  |  |  | 0
| Total Page No. 9 |  |  |  | 0
| TOTAL ELEMENT No. 5 (DOORS) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 6
WINDOWS
Precast concrete units: class 25 (1:2:4)
A | 325 x 75mm Cill | LM | 35 |  | 0
Purpose made steel casement windows fabricated from 3mm thick standard sections: frames and glazing primed with one coat red oxide primer before fixing; complete with stays, fasteners and fixing lugs built into walls. Refer to window schedules provided
B | Side hung window W2 overall size 1200mm x 1200mm high | NO | 6 |  | 0
C | Side hung window overall size 600mm x 1200mm high | NO | 2 |  | 0
D | Side hung window W3 overall size 900mm x 1200mm high | NO | 6 |  | 0
E | Side hung window W1 overall size 1500mm x 1200mm high | NO | 7 |  | 0
Glass and Glazing
F | 6mm thick clear glass to metal windows with glass putty | SM | 32 |  | 0
Prepare and apply three coats of super quality gloss enamel paint on metalwork:
G | General Surfaces of new steel glazed windows | SM | 63 |  | 0
Vents
Wrot hard wood frames, selected, treated and kept clean.
H | 25 x 25mm architraves | LM | 30 |  | 0
32 SWG Mosquito wire gauge
I | Mosquito wire gauge fixed to vents with timber beads (m.s.) | SM | 6 |  | 0
Prepare Knot, Prime, stop and apply three coats of gloss oil paint: on woodwork
J | New wood frames not exceeding 100mm girth | LM | 30 |  | 0
Finishes to Window Reveals
Cement and sand (1:3)
K | 15mm plaster to window reveals | LM | 29 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
Painting
A | Prepare and apply three coats weather guard paint on plastered surfaces of reveals not exceeding 100mm girth internally | LM | 29 |  | 0
B | Prepare and apply three coats vinyl silk paint on plastered surfaces of reveals not exceeding 100mm girth externally | LM | 29 |  | 0
C | Rub down, prepare and apply two coats exterior quality emulsion paint on existing reveals not exceeding 100mm girth | LM | 36 |  | 0
D | Ditto but vinyl silk paint internally ditto | LM | 36 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
| Total Page No. 11 |  |  |  | 0
| Total Page No. 12 |  |  |  | 0
| TOTAL ELEMENT No. 6 (WINDOWS) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 7
INTERNAL FINISHES
Floor Finishes
Cement and sand (1:4) screeds and pavings: one coat: steel trowell finish: laid on concrete
A | 25mm thick paving to floor. | SM | 36 |  | 0
Cement and sand (1:4) beds to receive terrazzo finish (measured separately) laid on concrete
B | 25mm thick bed to floor. | SM | 39 |  | 0
Insitu polished terrazzo by Specialist
C | 30mm thick terrazzo paving complete with plastic division strip | SM | 39 |  | 0
D | 25x150mm high terrazzo skirting | LM | 18 |  | 0
Wall Finishes
Cement / lime/putty/sand(1:2:9):
E | 15mm plaster to walls and concrete surfaces | SM | 96 |  | 0
Painting
F | Thorughly rub down, prepare and apply two coats of silkvinyl paint to existing painted surfaces internally | SM | 226 |  | 0
G | Prepare and apply three coats of silkvinyl paint on plastered surfaces internally | SM | 96 |  | 0
Ceiling Finishes
Sawn softwood pressure impregnated.
H | 50 x 100mm branderings and joists | LM | 122 |  | 0
I | 50 x 100mm runners and hangers | LM | 12 |  | 0
9mm thick plain chipboard ceiling;
J | 9mm thick chipboard ceiling fixed on timber frame work | SM | 150 |  | 0
K | 75x25mm thick hardwood ceiling cornice | LM | 84 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
A | Extra for 600x600mm chipboard trap door complste with hardwood framing | NO | 1 |  | 0
Painting
B | Rub down, prepare and apply two coats of first grade emulsion on existing ceilings internally | SM | 0 |  | 0
C | Prepare and apply three coats of first grade emulsion on chipboard ceilings internally | SM | 150 |  | 0
D | Prepare and apply three coats of clear varnish on hardwood cornice 75 - 150mm girth internally | LM | 84 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
| Total Page No. 13 |  |  |  | 0
| Total Page No. 14 |  |  |  | 0
| TOTAL ELEMENT No. 7 (INTERNAL FINISHES) CARRIED TO SUMMARY. |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 8
EXTERNAL FINISHES
Floor Finishes
Cement and sand (1:4) screeds and pavings: one coat: steel trowell finish: laid on concrete
A | 25mm thick paving to splash apron | SM | 40 | 0 | 0
Wall Finishes
Cement and sand (1:3)
B | 20mm plastering to walls externally | SM | 80 |  | 0
C | Ditto but concrete surfaces | SM | 5 | 0 | 0
D | Extra for coping with rounded top and sloping sides over dwarf wall to detail | LM | 8 |  | 0
Vertial cracks on painted walls externally
E | Carefully remove plaster in cracked areas, provide and fix 10mm x 150mm long bars at 300mm centers to match vertical mortar joints and apply 15 mm thick cement and sand (1:4) plaster finished with and including three coats weatherguard paint to match existing total length 30 meters. | ITEM | 1 |  | 0
Vertial cracks on roughcast finished walls externally
F | Carefully remove plaster in cracked areas, provide and fix 10mm x 150mm long bars at 300mm centers to match vertical mortar joints and apply 15 mm thick cement and sand (1:4) render finished with and including roughcast to match existing total length 30 meters. | ITEM | 1 |  | 0
Stone plinth wall
G | Repair and point joints of existing stone plinth wall approximately 6 square meters to approval | ITEM | 1 |  | 0
Painting
H | Thorughly rub down, prepare and apply two coats of weather guard paint to existing painted surfaces externally | SM | 147 |  | 0
I | Prepare and apply three coats of weather guard emulsion paint to rendered surfaces | SM | 90 |  | 0
| TOTAL ELEMENT No. 8 (EXTERNAL FINISHES) CARRIED TO SUMMARY. |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 9
FITTINGS & FIXTURES
CONCRETE SEATS AND SHELVES
Reinforced concrete class 25 (1:2:4)
A | 100mm thick reinforced concrete seats | SM | 5 |  | 0
Mesh fabric reinforcement reference A 142
B | BRC mesh reinforcement ref. A142 laid in suspended slabs | SM | 5 |  | 0
Formwork to:
C | Soffites of suspended slabs | SM | 5 |  | 0
D | Ditto edges of slab not exceeding 100mm girth | LM | 72 |  | 0
Locally burnt clay brickwork in cement and sand (1:3)mortar
E | 200mm thick support walls in cement and sand(1:3) mortar | SM | 3 |  | 0
Insitu polished terrazzo by Specialist
F | 30mm thick terrazzo finish on concrete seats | SM | 5 |  | 0
G | Ditto edges of slab not exceeding 100mm girth | LM | 72 |  | 0
Cement / lime/putty/sand(1:2:9):
H | 15mm plaster to walls and concrete surfaces | SM | 6 | 0 | 0
I | Prepare and apply three coats of silkvinyl paint on plastered surfaces internally | SM | 6 | 0 | 0
PIN BOARDS
The following in 2 no. pin board: size 1200x 1000mm high
J | 13mm celotex softboard lining: plugged and screwed to walls | SM | 2 |  | 0
K | 50x25mm wrot hard wood; edge trim : one labour: plugged and screwed | LM | 9 |  | 0
L | Approved hessian cloth lining | SM | 2 |  | 0
Knot prime stop and apply one coat undercoat and two finishing coats gloss oil paint on wood
M | Surfaces 75-150mm girth: edge trim | LM | 9 |  | 0
SIGNAGE
N | Provide the provisional sum of UShs. 1,500,000 only for Wall and Door Signage | ITEM | 1 |  | 0
| TOTAL ELEMENT No. 9 (FITTINGS & FIXTURES) CARRIED TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 10
ELECTRICALL INSTALLATIONS
Supply and install the following complete with accessories:
Power Supply
A | 100A 4-Way SPN MCB Consumer Unit for flush mounting complete with integral isolator, MCBs and all accessories as MEM, CRABTREE or equal approved. | NO | 1 |  | 0
B | Supply Cable 6mm2 x 3core SWA/PVC Copper cables buried in ground, clipped to wall complete with terminations clipping and all accessories from existing power supply to Consumer Unit above. | LM | 20 |  | 0
Lighting
C | Lighting points wired by 3 x 1.5mm2 SC PVC-I copper cables in 20mm pvc conduits in walls or in roof void, from the power supply point to a junction box (JB) with connector and ceiling rose. Fittings to be suspended on ceiling | NO | 2 |  | 0
D | 5W LED bulb complete with a flexible cable and lamp holder as Phillips | NO | 2 |  | 0
E | Replace existing damaged bulb with new 5W LED bulb complete with a flexible cable and lamp holder as Phillips | NO | 4 |  | 0
F | 6A 1 gang 1 way switch | NO | 4 |  | 0
G | 6A 1 gang 2 way switch | NO | 1 |  | 0
H | Replace existing damaged 6A 1 gang 1 way switch | NO | 2 |  | 0
Lightening Protection System
I | Copper tape size 3mm x 25mm | LM | 20 |  | 0
J | Air terminals complete | NO | 1 |  | 0
K | Test clamps complete | NO | 2 |  | 0
Earthing
L | Earth electrodes made from Hard drawn copper or copper weld 20mm diameter by 1200mm in two length screwed together complete with cap, earth clamp, manhole and all accessories. | NO | 1 |  | 0
Testing and Commissioning
M | Allow for testing and commissioning the whole of Electrical Installations to the satisfaction of the Project Manager | ITEM | 1 |  | 0
| TOTAL ELEMENT No. 10 (ELECTRICAL INSTALLATIONS) CARRIED TO SUMMARY |  |  |  | 0

## Fly-EMMP
BILL NO.4
EMMP ITEMS/EXTERNAL WORKS

## Bill 4 EMMP + Ext Works
USAID's MAPD - PROPOSED INFRASTRUCTURE RENOVATIONS AT SELECTED HEALTH CENTRES IN UGANDA, 2020
WABUSANA HEALTH CENTRE III IN LUWERO DISTRICT
Bill No. 4; EMMP ITEMS /EXTERNAL WORKS
Item | Description | Unit | Qty | Rate | Amount
|  |  |  | Ugx | Ugx
BILL NO. 4 -EMMP ITEMS /EXTERNAL WORKS
SUMMARY
1 | RAIN WATER HARVESTING |  |  |  | 0
2 | ACCESS RAMP |  |  |  | 0
3 | STORM WATER CHANNEL |  |  |  | 0
4 | MEDICAL WASTE PIT |  |  |  | 0
5 | FIRE BRICKS INCINEATOR |  |  |  | 0
6 | 4 STANCE VIP LATRINE (2NO.) |  |  |  | 0
7 | FUMIGATION AND ANTI-TERMITES |  |  |  | 0
| TOTAL BILL No. 4 (EMMP ITEMS /EXTERNAL WORKS) CARRIED TO MAIN SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 1
RAINWATER HARVESTING
Removals
A | Remove existing existing rain water gutters | ITEM | 1 |  | 0
B | Ditto existing rain water down pipe | ITEM | 1 |  | 0
Unplasticed PVC rain water gutters pipes and fittings
C | 150mm diameter UPVC gutters fixed with clips | LM | 145 |  | 0
D | 76mm diameter UPVC down pipe to water tank | LM | 16 |  | 0
E | Extra for gutter connection | NO | 8 |  | 0
F | Ditto 150mm gutter ends | NO | 8 |  | 0
G | Ditto 76mm bend | NO | 8 |  | 0
PVC water tank
H | Supply and fix approved 10,000 litre PVC tank, complete with tank cover, 32mm overflow, 32mm wash out with sluice valve and 32mm stop cock, mounted on concrete base (measured separately) complete with all accessories (OPD). | NO | 1 |  | 0
Water tank base
I | 2500mm diameter x1200mm high concrete base to Structural Engineer's details for 10000 litres tank | NO | 1 |  | 0
Water Supply
J | Supply and fix approved 2,000 litre PVC tank, complete with tank cover, 32mm overflow, 32mm wash out with sluice valve, mounted on steel stand (measured separately) complete with all accessories (OPD). | NO | 1 |  | 0
1 No. Elevated steel stand for 2000 litres tank approimately 5 metres high above ground level
K | Excavate oversite 150mm thick and remove from site | SM | 18 |  | 0
L | Excavate to reduce levels and remove from site | CM | 5 |  | 0
M | Excavate for footings | CM | 2 |  | 0
N | Back fill excavated materials around foundations | CM | 1 |  | 0
O | Remove surplus excavated materials from site | CM | 1 |  | 0
P | Reinforced concrete class 25 (1:2:4) Column bases | CM | 1 |  | 0
Q | Sawn formwork to sides of column bases | SM | 5 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
A | 8 mm high tensile steel bar reinforcement in columns | KGS | 12 |  | 0
B | 12mm Ditto | KGS | 50 |  | 0
C | 150x150x5mm thick mild steel base plate four times drilled to recieve 12mm bolts | NO | 4 |  | 0
D | 50x50x5mm thick x 300mm long SHS anchor plates | NO | 16 |  | 0
E | 12mm dia. x 350mm long HD bolts | NO | 16 |  | 0
F | 75x75x4mm thick SHS stanchions | LM | 18 |  | 0
G | 30x30x4mm thick RSA bracings | LM | 22 |  | 0
H | 125x75x4mm thick RHS cross beam | LM | 4 |  | 0
I | 80x60x4mm thick SHS bracings | LM | 16 |  | 0
J | 100x100x4mm thick mild steel top plate welded on stanchions | NO | 8 |  | 0
K | 2.5mm thick chequered steel plate | SM | 4 |  | 0
L | 30x30x3mm thick RSA vertical railings | LM | 32 |  | 0
M | Ditto horizontal railings | LM | 48 |  | 0
N | Apply three coats of gloss enamel paint on steel surfaces 100 - 200mm girth | LM | 80 |  | 0
O | Ditto 200 - 300mm girth | LM | 34 |  | 0
P | Ditto over 300mm girth | SM | 2 |  | 0
Steel Access Lader
Q | 30x30x3mm thick RSA lader frames | LM | 10 |  | 0
R | 16mm diameter x 300mm long mild steel rungs welded to lader frames at 300mm centres | LM | 5 |  | 0
S | 25x25x3mm thick SHS supports welded to SHS stands | LM | 4 |  | 0
T | Apply three coats of gloss enamel paint on steel surfaces 100 - 200mm girth | LM | 19 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
Sundry tems
A | Repair existing 1No damaged concrete tank base size 1500 diax600mm high to approval (OPD) | ITEM | 1 |  | 0
B | Construct concrete class 15/20mm (1:3:6) trough size 1000x1000x200mm deep to approval (OPD) | NO | 1 |  | 0
C | Construct concrete class 15/20mm (1:3:6) channel size 2000mm long x 200x200x150mm deep to approval (OPD) | NO | 1 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
| Total Page No. 2 |  |  |  | 0
| Total Page No. 3 |  |  |  | 0
| Total Page No. 4 |  |  |  | 0
| TOTAL ELEMENT No. 1 (RAIN WATER HARVESTING) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 2
ACCESS RAMPS
A | Excavate trench for ramp footing | CM | 4 |  | 0
B | Back fill excavated materials around foundations | CM | 2 |  | 0
C | Remove surplus excavated materials from site | CM | 2 |  | 0
D | 200mm Hardcore bed with and including 50mm sand blinding | SM | 21 |  | 0
E | 1000 Gauge polythene sheet damp proof membrane | SM | 21 |  | 0
F | Plain concrete class 20/20mm (1:3:6) ramp foundation | CM | 2 |  | 0
G | Ditto but 150mm thick (ave.) ramp with tamped finish | SM | 21 |  | 0
H | Reinforced concrete class 25 (1:2:4) Ground beams | CM | 2 |  | 0
I | Sawn formwork to vertical sides of ramp: average 250mm wide cut to profile of ramp | LM | 15 |  | 0
J | Ditto sides of Ground beams | SM | 10 |  | 0
K | 200mm locally burnt clay brick wall in cement and sand (1:4) mortar | SM | 5 |  | 0
L | BRC Mesh Ref A142 laid in ramp | SM | 21 |  | 0
M | 8mm bars in beams | KGS | 75 |  | 0
N | 16mm in beams | KGS | 250 |  | 0
O | 15mm thick cement and sand (1:3) render to sides of plinth wall | SM | 9 |  | 0
P | Apply 3 coats bituminous paintto rendered wall | SM | 9 |  | 0
| TOTAL ELEMENT No. 2 (ACCESS RAMP) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 3
STORM WATER CHANNELS
A | Storm water channel size 250x300mm deep internal dimensions comprising 100mm thick plain concrete class 20 bed; 150x200mm high brick outer side rendered internally to falls; necessary excavations, formwork, backfill and disposal of surplus soil; to edge of splash apron | LM | 10 |  | 0
B | Ditto but comprising 100mm thick plain concrete class 20 bed and sides rendered internally to falls; necessary excavations, formwork, backfill and disposal of surplus soil | LM | 70 |  | 0
| TOTAL ELEMENT No. 3 (STORM WATER CHANNEL) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 4
MEDICAL WASTE PIT
Site preparation
A | Excavate oversite 150mm thick and remove from site | SM | 18 |  | 0
B | Excavate to reduce levels and remove from site | CM | 5 |  | 0
Excavations and Earthworks
C | Excavate foundation trench | CM | 9 |  | 0
D | Excavate pit not exceeding 1.5meters deep | CM | 15 |  | 0
E | Ditto over 1.5 but not exceeding 3.0meters deep | CM | 5 |  | 0
Disposal of excavated materials
F | Back fill excavated materials around foundations | CM | 18 |  | 0
G | Remove surplus excavated materials from site | CM | 12 |  | 0
Plain concrete class 20/20mm (1:3:6)
H | Foundation strip | CM | 1 |  | 0
Reinforced concrete class 25 (1:2:4)
I | 150mm thick suspended slab | SM | 13 |  | 0
Formwork to:
J | Soffits of suspended slab left in position | SM | 13 |  | 0
K | Edge of slab 150 - 225mm high circular on plan. | LM | 13 |  | 0
Locally burnt clay brickwork in cement and sand (1:3)mortar
L | 200mm wall in foundations | SM | 10 |  | 0
High tensile steel bar reinforcement
M | 12mm in slab | KGS | 230 |  | 0
Manhole cover
N | 2mm thick Purpose made mild steel plate manhole cover size 900x450mm complete with 50x50x3mm angle frame and lockable hinged cover; one coat red oxide primer and two coats gloss oil paint | NO | 1 |  | 0
Maintenance for excavation
O | Allow for upholding and maintaining sides of excavations | ITEM | 1 |  | 0
P | Allow for keeping excavations free from surface water | ITEM | 1 |  | 0
| TOTAL ELEMENT No. 4 (MEDICAL WASTE PIT) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 6
FIRE BRICKS INCINEATOR
A | Excavate over site and remove from site | SM | 10 |  | 0
B | Excavate to reduce levels and remove from site | CM | 5 |  | 0
| Excavation and Earthworks. |  |  |  | 0
C | Excavate for incinerator base | CM | 3 |  | 0
| Disposal of excavated materials |  |  |  | 0
D | Back fill excavated materials around foundations | CM | 1 |  | 0
E | Remove surplus excavated materials from site | CM | 2 |  | 0
Plain concrete class 20/20mm (1:3:6)
F | 150mm thick base in foundation | CM | 4 |  | 0
| Formwork to: |  |  |  | 0
G | Vertical sides of base | SM | 1 |  | 0
| Walling |  |  |  | 0
| Kajjansi fire bricks bedded and jointed with cement and sand (1:3) mortar |  |  |  | 0
H | 115mm thick walls in layers as per detailed drawings | SM | 6 |  | 0
I | 230mm thick ditto | SM | 2 |  | 0
Metal work
J | Purpose made mild steel spigot size 115x230x300m high welded to base plate size 265x380x5mm thick | NO | 1 |  | 0
K | Purpose made mild steel ash grate size 255x780x150mm high comprising 3No 20mm diameter bar 780mm long, 14No. 20mm diameter cross bars all welded to 25x3mm thick steel flat framing on 4No. 20mm diameter x 150mm high legs | NO | 1 |  | 0
| The following in 1No. Combustion Chamber to detail drawings |  |  |  | 0
L | 100x40x25mm channel sand frame | LM | 2 |  | 0
M | 30x30x2mm thick RSA frame | LM | 2 |  | 0
N | 580 x 460 x 5mm thick mild steel plate welded to framing | NO | 1 |  | 0
O | 26 Gauge galvanized chimney size 135x250x4000mm high supported by 8mm diameter bars (m.s.) | NO | 1 |  | 0
P | 8mm diameter mild steel twisted steel bars 4550mm long with anchor bolts to hold chimney | NO | 1 |  | 0
| TOTAL ELEMENT No. 6 (INCINERATOR) TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 7
4 STANCE VIP LATRINES
SUBSTRUCTURE
A | Excavate oversite 150mm thick and remove from site | SM | 112 |  | 0
B | Excavate to reduce levels and remove from site | CM | 33 |  | 0
C | Excavate foundation trench | CM | 9 |  | 0
D | Excavate pit not exceeding 1.5meters deep | CM | 7 |  | 0
E | Ditto over 1.5 but not exceeding 3.0meters deep | CM | 7 |  | 0
F | Back fill excavated materials around foundations | CM | 1 |  | 0
G | Remove surplus excavated materials from site | CM | 22 |  | 0
Plain concrete class 20/20mm (1:3:6)
H | Foundation strip | CM | 2 |  | 0
I | Splash apron footing | CM | 1 |  | 0
J | 75mm thick Splash apron bed | SM | 15 |  | 0
K | 100mm thick Floor bed | SM | 7 |  | 0
L | 150mm thick (ave.) ramp | SM | 8 |  | 0
M | 150mm thick raised urinal slab size 600x1950mm long | NO | 1 |  | 0
Reinforced concrete class 25 (1:2:4)
N | 150mm thick suspended slab | SM | 7 |  | 0
Formwork to:
O | Edge of slab 75 - 150mm high. | LM | 16 |  | 0
P | Edge of splash apron slab 75 - 150mm high. | LM | 25 |  | 0
Q | Edge of ramp slab 75 - 150mm high. | LM | 17 |  | 0
R | Form 150mm diameter half round urinal channel steel trowelled smooth to falls | LM | 2 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
Locally burnt clay brickwork in cement and sand (1:3)mortar
A | 200mm wall in foundations | SM | 13 |  | 0
B | 150mm Ditto (Splash apron) | SM | 15 |  | 0
C | BRC Mesh Ref A142 | SM | 24 |  | 0
Maintenance for excavation
D | Allow for upholding and maintaining sides of excavations | ITEM | 1 |  | 0
E | Allow for keeping excavations free from surface water | ITEM | 1 |  | 0
SUPERSTRUCTURE
Reinforced concrete class 25 (1:2:4)
F | Lintel | CM | 1 |  | 0
Formwork to:
G | Horizontal beams | SM | 10 |  | 0
High tensile steel bar reinforcement
H | 8 mm in beams | KGS | 45 |  | 0
I | 12mm in beams | KGS | 50 |  | 0
Locally burnt clay brickwork in cement and sand (1:3)mortar
J | 200mm external wall | SM | 30 |  | 0
K | 150mm external wall | SM | 3 |  | 0
L | 150mm internal wall | SM | 11 |  | 0
M | 265x65mm thick precast concrete coping: weathered and throated with fair face finish laid over screen walls | LM | 6 |  | 0
ROOFING
N | 28 Gauge Pre-coated steel roofing sheets fixed with drive screws on timber purlins | SM | 14 |  | 0
O | 100mm x 50mm treated cypress rafters | LM | 12 |  | 0
Sawn hardwood:
P | 100mm x 50mm treated cypress wall plate | LM | 9 |  | 0
Q | 100mm x 50mm treated cypress purlins | LM | 11 |  | 0
R | 25mm x 225mm cypress Fascia and barge boards | LM | 16 |  | 0
S | Apply three coats of gloss enamel paint on fascia boards | LM | 16 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
DOORS
Purpose made steel solid doors fabricated from 3mm thick standard sections: frames primed with one coat red oxide primer before fixing; complete with fixing lugs built into walls. Refer to window schedules provided
A | Side hung single leaf door overall size 800mm x 2100mm high | NO | 6 |  | 0
Prepare and apply three coats of super quality gloss enamel paint on metalwork:
B | General Surfaces of new steel glazed doors and frames | SM | 20 |  | 0
WINDOWS
Precast concrete units: class 25 (1:2:4)
C | 325 x 75mm Cill | LM | 3 |  | 0
Purpose made steel casement windows fabricated from 3mm thick standard sections: frames and glazing primed with one coat red oxide primer before fixing; complete with fixing lugs built into walls. Refer to window schedules provided
D | Top hung window overall size 500mm x 600mm high | NO | 4 |  | 0
Glass and Glazing
E | 6mm thick clear glass to metal windows with glass putty | SM | 1 |  | 0
Prepare and apply three coats of super quality gloss enamel paint on metalwork:
F | General Surfaces of new steel glazed windows | SM | 2 |  | 0
Finishes to Window Reveals
Cement and sand (1:3)
G | 15mm plaster to window reveals | LM | 9 |  | 0
Apply three coats weather guard paint to:
H | Plastered surfaces of reveals externally | LM | 9 |  | 0
Apply three coats vinyl silk paint to:
I | Plastered surfaces of reveals internally. | LM | 9 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
FINISHES
Cement and sand (1:4) screeds and pavings: one coat: steel trowell finish: laid on concrete
A | 25mm thick paving to floor. | SM | 77 |  | 0
B | 25mm thick paving to splash apron. | SM | 15 |  | 0
Cement / lime/putty/sand(1:2:9):
C | 15mm plaster to walls | SM | 52 |  | 0
D | Cement and sand (1:4) tyrolene (roughcast) finish: two coats: laid on and including backing on wall surfaces
E | Tyrolene wall finish | SM | 36 |  | 0
F | Prepare and apply three coats of silkvinyl paint on plastered surfaces internally | SM | 52 |  | 0
MECHANICAL INSTALLATIONS
G | 50mm PVC soil waste pipe in floor. | LM | 3 |  | 0
H | 100mm UPVC soil and vent pipe on wall 2500mm high with baloon grating on top. | NO | 1 |  | 0
I | 150mm diameter UPVC gutters fixed with clips | LM | 6 |  | 0
J | 76mm diameter UPVC down pipe to existing water tank | LM | 2 |  | 0
K | Extra for gutter connection | NO | 1 |  | 0
L | Ditto 150mm gutter ends | NO | 2 |  | 0
M | Ditto 76mm bend | NO | 1 |  | 0
N | Supply and fix approved 1000 liters plastic water tank mounted on concrete base (mesured separately) | NO | 1 |  | 0
O | 1500x1500x600mm high concrete base for above tank | NO | 1 |  | 0
P | Construct standard soak pit size 1.50 meter diameter x 3.00 meter deep complete | NO | 1 |  | 0
Q | Concrete trough size 1000x1000x200mm deep to approval | ITEM | 1 |  | 0
R | Ditto channel size 2000mm long x 200x200x150mm deep to approval | ITEM | 1 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty |  | Amount
ELECTRICALL INSTALLATIONS
Supply and install the following complete with accessories:
Cables
A | Supply Cable 2.5mm2 x 3core SWA/PVC Copper cables buried in ground, clipped to wall complete with terminations clipping and all accessories from existing power supply. | LM | 30 |  | 0
Lighting
B | Wiring lighting points | NO | 4 |  | 0
C | 5W LED bulb complete with a flexible cable and lamp holder as Phillips | NO | 4 |  | 0
D | 6A 1 gang 2 way switch | NO | 2 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
| Total Page No. 9 |  |  |  | 0
| Total Page No. 10 |  |  |  | 0
| Total Page No. 11 |  |  |  | 0
| Total Page No. 12 |  |  |  | 0
| Total Page No. 13 |  |  |  | 0
| TOTAL 1NO 4-STANCE LATRINE |  |  |  | 0
| TOTAL ELEMENT No. 7 (2NO 4- STANCE VIP LATRINES) CARRIED TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate | Amount
ELEMENT No. 8
EXTERNAL WORKS
LANDSCAPING
Planting Grass and Trees
A | Excavate to a fine tilth, plant approved grass species on imported manure, water and maintain till fully established | SM | 75 |  | 0
B | Excavate pit not exceeding 1.5 metres deep | CM | 10 |  | 0
C | Remove and spread excavated material on site | CM | 10 |  | 0
D | Imported manure filling in pit | CM | 10 |  | 0
E | Plant royal palm trees on imported manure (M.S) water and maintain till fully established | NO | 10 |  | 0
Stone pitching
F | Excavate trench for wall foundation | CM | 5 |  | 0
G | Back fill excavated materials around foundations | CM | 3 |  | 0
H | Remove surplus excavated materials from site | CM | 2 |  | 0
I | Plain concrete class 20/20mm (1:3:6) wall foundation | CM | 1 |  | 0
J | 200mm thick stone retaining wall | SM | 25 |  | 0
K | Selected random stone pitching on cement and sand(1:4) mortar with pointed joints to approval. | SM | 40 |  | 0
FUMIGATION
L | Allow for fumigation of existing roof space against bats and removal of bats droppings with approved chemical (2No. Buildings) | ITEM | 1 |  | 0
TERMITES
M | Dig out existing ant hills, trace and kill queen ant and apply approved anti termite chemical with ten years gurantee (5No. Ant hills) | ITEM | 1 |  | 0
PROVISIONAL SUM
N | Provide the provisional sum of Uganda shillings three million five hundred thousand (UShs. 3,500,000) only for additional EMMP items | ITEM | 1 |  | 0
| TOTAL ELEMENT No. 7 (EXTERNAL WORKS) CARRIED TO SUMMARY |  |  |  | 0